# Appendix B   Example Daily and Weekly Helideck and Equipment Readiness Checklist

This is an example only

1. Daily Helideck and Equipment Readiness Checklist

| Platform: | Date: |
| --- | --- |

| Helideck Team equipment | Yes | No | Remarks |
| --- | --- | --- | --- |
| - Test Helideck Team mobile airband radios and other relevant radio equipment. |  |  |  |
| - Check Helideck PPE, breathing apparatus, and identifying vests ready for use. |  |  |  |
| - Check any other equipment. |  |  |  |
| Passenger Pathways and Access Point Hazard Walk |  |  |  |
| - Check for slip, trip, fall, and dropped object hazards. |  |  |  |
| - Check for work activity posing a hazard to passengers in transit. |  |  |  |
| - Check handrails for integrity and the proper operation of folding handrails. |  |  |  |
| - Check that frangible chain and warning sign is in place restricting access to helideck at access points. |  |  |  |
| Area adjacent to Helideck |  |  |  |
| - Check the area around the helideck for objects that could be dislodged or blown by helicopter downwash, causing a personnel hazard; - Personnel lifting devices - Wood and Plastic boxes - Container lids - Sheets of Plywood All of these items are particularly vulnerable and must be secured. |  |  |  |
| - Check for ongoing work incompatible with helicopter operations. |  |  |  |
| - Other local considerations |  |  |  |

| Helideck |  |  |  |
| --- | --- | --- | --- |
| - Check that the helideck is clear of unapproved equipment or supplies, obstructions, gas or flammable substances, loose articles, ice, snow, excessive bird guano or other hazards. |  |  |  |
| - Check 210 degree Obstacle Free Sector (OFS) and 150 Limited Obstacle Sector (LOS) for infringements. Check the 180 5:1//3:1 falling gradient sector for intrusions and loitering vessels. |  |  |  |
| - Check the landing net for security, tension and condition, if fitted. |  |  |  |
| - Check the perimeter safety net for security and condition. |  |  |  |
| Fire and Crash Equipment |  |  |  |
| - Check fire equipment is secured with quick-release lashings and is ready to deploy. |  |  |  |
| 16. Check fire extinguisher gauges. |  |  |  |
| 17. Check crash boxes for tampering and missing items. |  |  |  |
| 18. Check that helideck ladders are present. |  |  |  |
| 19. Check helideck perimeter lights, floodlights, hazard lights, and status // wave off lights for operation. |  |  |  |
| 20.Check that access point frangible chains // barriers are in place to restrict helideck access. |  |  |  |
| - Other local equipment to be checked. |  |  |  |

| Additional Remarks: | Helicopter Landing Officer Signature: |
| --- | --- |
|  | OIM/Vessel Master Signature: |

2.  Weekly Helideck Equipment Checklist

| Platform: | Date: |
| --- | --- |

| General | Yes | No | Remarks |
| --- | --- | --- | --- |
| - Helideck clean and free from debris. Drains clear. |  |  |  |
| - Landing net in good condition and correctly tensioned (if applicable). |  |  |  |
| - Deck-edge safety net in good condition. |  |  |  |
| - All helideck perimeter lights and floodlights operational. |  |  |  |
| - Helideck status light system // Helideck waveoff lights operational. |  |  |  |
| - Helideck correctly marked and paintwork in good condition. |  |  |  |
| - Ground power unit operational. |  |  |  |
| - Refuelling system operational. |  |  |  |
| - Pump running warning light operational. |  |  |  |
| - Fuel test equipment in adequate supply. |  |  |  |
| - Wheel chocks and tie down strops available. |  |  |  |
| - De-icing equipment and materials available (if applicable). |  |  |  |
| Emergency Equipment Box & Contents |  |  |  |
| - Emergency equipment box in good condition. |  |  |  |
| - Felling axe, aircraft type. |  |  |  |
| - Firemen’s axe, aircraft type. |  |  |  |
| - Safety knife, aircraft type (for each crew member). |  |  |  |
| - Heavy duty hacksaw c/w six spare blades. |  |  |  |
| - Crow bar (large). |  |  |  |
| - Grab/boat hook. |  |  |  |
| - Lifting Strop, aircraft type. |  |  |  |
| - Pliers side-cutting (tin snips). |  |  |  |
| - Set of assorted screwdrivers. |  |  |  |
| - Adjustable wrench. |  |  |  |
| - Portable safety lamp (two). |  |  |  |
| - Bolt cutters. |  |  |  |
| - Two-section ladder. |  |  |  |
| - Fire resistant blanket. |  |  |  |
| Fire Fighting Equipment |  |  |  |
| - 9 kg dry powder extinguisher – serviceable. |  |  |  |
| - 45kg dry powder extinguisher, including 100% back-up – serviceable. |  |  |  |
| - 22.5kg CO2 extinguisher c/w lance including 100% back-up – serviceable. |  |  |  |
| - Fire hydrants – serviceable. |  |  |  |
| - Fire hoses available and in good condition. |  |  |  |
| - Branch/nozzle available and in good condition. |  |  |  |
| - Fire hoses boxes in good condition. |  |  |  |
| - Portable foam making equipment – serviceable. |  |  |  |
| - Portable foam branch c/q on/off control – serviceable. |  |  |  |
| - Self-contained breathing apparatus (two) – serviceable. |  |  |  |
| - Self-contained breathing apparatus locker in good condition. |  |  |  |
| - Firefighting suit locker in good condition |  |  |  |
| - Firefighting suits in good condition (one for each crewmember). |  |  |  |
| - Helmet and visor in good condition (one for each crewmember). |  |  |  |
| - Firefighting gloves and boots in good condition (one set for each crewmember). |  |  |  |

| Refuelling Installation (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | List Findings (if any) |  |  |  | Action Taken |  |  | Date |  |
| - Floating suction arm. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Pressure coupling cone strainer. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Gravity refuel nozzle cone strainer. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Water traps, inline oilers. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Silica gel condition. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Delivery hose inspection (under pressure) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hose no. |  | Soft |  | Blisters |  | Crack cuts |  |  | Abrasions |  | Crushing |  |  | Permanent Kinks |  |  |

| Additional Remarks: | Helicopter Landing Officer Signature: |
| --- | --- |
|  | OIM/Vessel Master Signature: |